Educating our clients since 1989

# Limited moisture assessment report

Property:

Client:

Report issued:

Date (s) of assessment:

Prepared by: Investigative Inspection Services, Inc. (IIS)

Consultant: Stanley Yeskolski

Table of Contents

Summary	3

General information	4

Introduction	5

Inspection equipment and standards	5

Instruments and equipment	7

Findings and discussion	10

Exterior	10

Interior	13

Attic	16

Crawl space	19

Basement	22

HVAC systems	25

Sampling results	28

Lab Results Summary	28

Direct Analysis of Tape-Lift Samples	28

Analysis of Air Samples	29

Analysis of dust for mycotoxins	30

Conclusion	36

Health-sensitive occupancy notice	38

Limitations	41

Attachments/appendices	43

# Summary

# General information

| Client Information: |  |  |  |
| --- | --- | --- | --- |
| Client name: |  | Email: |  |
| Cell phone: |  | Work phone: |  |
| Client address: |  |  |  |
| Inspection address: |  |  |  |

| Assessment Details: |  |  |  |
| --- | --- | --- | --- |
| Inspector(s) present: |  |  |  |
| Date(s) of assessment: |  |  |  |
| Time(s) of assessment: |  |  |  |

| Environment: | Outside | First Floor | 2nd Floor | Basement |
| --- | --- | --- | --- | --- |
| CO2 measurement |  |  |  |  |
| Temperature: |  |  |  |  |
| Humidity: |  |  |  |  |
| Rainfall: |  |  |  |  |
| Conditions: |  |  |  |  |
| Particle counts |  |  |  |  |

| Building Details: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Construction date: |  |  |  |  | Remodel date: |  |
| Number of elevations: |  |  |  |  | Number of stories: |  |
| Square footage: |  |  |  |  | Building location: |  |
| Type of building: |  |  |  |  |  |  |
| HVAC system |  |  |  |  |  |  |
| Landscape: |  |  |  |  |  |  |
| Foundation: |  |  |  |  |  |  |
| Construction exterior materials: |  |  |  |  |  |  |
| Roof: |  |  |  |  |  |  |
| Construction interior materials: |  |  |  |  |  |  |
| Attic: |  |  |  |  |  |  |

# Introduction

Investigative Inspection Services (IIS) was contacted to perform a moisture and mold assessment at 8493 Freewelcome Lane, Dutton VA, 23050. Due to the client's concern about fungal growth and moisture damage because of the health problems of their son. The health problems were suspected to be related to water intrusion and subsequent microbial growth that the home had experienced. A site visit occurred on 12-16-24.

The scope of inspection includes the following:

- A visual assessment of the affected areas of the home to determine moisture issues in the home, sampling of areas determined by the inspector.

- Assessment of moisture, allergens, fungal levels, and/or particulate levels in representative areas

This report contains the following:

- An overview of the methodology and equipment used in this inspection, see Inspection Equipment and Standards

- Report of findings and photos from the assessment including the laboratory results of any samples collected during the site visit.

- My expert opinion is based on the site visit observations, laboratory reports, and experience.

- Laboratory report of the tape lift samples for direct examination for fungi.

- Air sampling results for allergens and fungal levels with a determination of action levels.

- EPA documents for mold remediation and general guidelines

# Inspection equipment and standards

Visual inspection of the house included limited observation of the building and observations of building materials for the presence of suspected visible fungal growth or conditions conducive to fungal growth, as prescribed in the ASTM (Standard 2418-06) Baseline Survey Process. The survey did not include any destructive techniques and was limited to readily accessible areas/materials in the areas of concern. Destructive testing techniques were not used; therefore, hidden areas (for example: under/behind furniture, below insulation, behind wall coverings, under floor covering, and inside wall/ceiling cavities) could not be included in our scope of work.

# Instruments and equipment

| Instrument/Equipment Employed During the Assessment | Description | Utilized |
| --- | --- | --- |
| MOISTURE METERS |  |  |
| Tramex Survey Encounter | Non-invasive impedance moisture meter, up to ½” – ¾” depth |  |
| Tramex Roof/Wall Scanner | Non-invasive impedance moisture meter, up to 4” depth |  |
| FLIR MR59 Ball Probe Moisture Meter | Non-invasive capacitance moisture meter, up to 4” depth |  |
| Protimeter MMS2 | Combination pin-type/non-invasive moisture meter/hygrometer/thermometer |  |
| Delmhorst BD-10 Pin-type Moisture Meter | Pin-type resistance meter with probes |  |
| INDOOR AIR QUALITY |  |  |
| Extech RH300 Hygrometer/Thermometer | Measures environmental conditions - temperature and relative humidity |  |
| Supco IAQ55 CO₂/Humidity/Temperature Meter | Measures the quantity of CO₂ in the ambient air, as well as temperature and humidity |  |
| Particles Plus 8306 Handheld Particle Counter | Measures the quantity of various sizes of airborne particulates |  |
| Smoke Pen | Cotton wick inside of a pen-style holder, used to quickly determine the direction of airflow, if any |  |
| Shortridge Instruments ADM-870 Electronic Micromanometer | Measures air flow, velocity, pressure (and whether it is positive or negative), and temperature |  |
| IMAGING |  |  |
| Teslong NTS500 Industrial Endoscope | A borescope-style camera with a narrow lens is used for inspecting the inside of areas typically inaccessible for visual inspection |  |
| FLIR Thermal Camera Attachment for Android | Thermal imaging device used to detect invisible heat energy |  |
| BIOLOGICAL SAMPLING |  |  |
| Mycometer allergens, fungal levels | Collects airborne allergens and fungi, which are then analyzed for severity. |  |
| Tape Lift | A tape collects mold samples, then is sent to an accredited laboratory for evaluation |  |
| Air sampling |  |  |

The temperatures and relative humidity readings were obtained at various locations in subject rooms using the Particles Plus 8306 Handheld Particle Counter environmental sensor. Readings are obtained when starting the assessment and when entering the building after allowing sufficient time to acclimate. All temperature readings are in degrees Fahrenheit (˚F). All humidity readings are Relative Humidity (RH).

The relative moisture content (MC) of building materials potentially affected by the water was measured using a hand-held, non-invasive FLIR MR59 Ball Probe Moisture Meter. Moisture content is calculated by the meter as a relative reading comparing known dry materials to other materials. The non-invasive device is placed against the exterior or interior surface of the walls or floors and passed over the area being assessed while remaining in contact with the surface. The meter is designed to detect general areas of high moisture content within the substrate. They will not detect areas of decay and damage in the absence of moisture.

The probe moisture meter was the Delmhorst BD-10 with long probes. The moisture probe meter is used to probe substrates and framing for indications of soft or rotted materials and to obtain moisture content measurements. These meters use handheld twin probes that have insulated electrodes. The probes are electrically conductive at the tip for measuring the resistance of the material into which the tips are embedded. The meter displays moisture as a percentage by weight for wood and a relative percentage for gypsum. A moisture content of less than fifteen percent (15%) is considered to be “normal” MC, and less than the water activity required by fungi for growth.

Airborne particulates were measured using a Particles Plus Handheld 8306. This instrument utilizes a laser to measure up to six different channels (diameters of particulate measured in microns) of simultaneous data. A sample reading is taken outside to establish a baseline for the locality and then used in problem areas to assess particulate content. This instrument does not identify the particulate, only the quantity.

For the surface sampling, a tape lift was utilized.

Air samples are collected via a non-viable Allergenco-D cassette spore trap. This type of spore trap collects and traps fungal spores and fragments. A calibration is conducted before and after sampling to ensure a consistent rate of flow. The samples are then sent to a laboratory and analyzed by a qualified professional. A Chain-of-Custody manifest accompanies the samples to ensure proper care and scientifically verifiable results. Results are provided in fungal counts per meter of air (spores/m³) for the air samples. In cases where an air sample is taken inside a property, one or more outside or non-complaint areas are sampled (Control Sample) as well. These control samples are used in determining whether there is a greater likelihood that the fungi detected in the air samples originated from an indoor source.

Air sampling was done according to the following:

- Indoor Environmental Standards Organization (IESO) Standard 1210 – Sampling Mold in Air Using a Cassette Slide Impactor

- The American Conference of Governmental Industrial Hygienists (ACGIH) Bioaerosols Assessment and Control

| PUMP(S) Calibration and sampling: |  |
| --- | --- |
| Primary Calibration Device: | Pump generated calibration |
| Air Sampling Media: | Allergenco |
| Setting Pump #1: | 15 L per min |

# Findings and discussion

## Exterior

Observation:

Recommendation:

## Interior

Observation:

Recommendation:

## Attic

Observation:

Recommendation:

## Crawl space

Observation:

Recommendation:

## Basement

Observation:

Recommendation:

## HVAC systems

Observation:

Recommendation:

# Sampling results

## Lab Results Summary

Project:  
Lab: Hayes Microbial Consulting, LLC
Report Number:  
Collection Date:  
Analysis Date:

Samples Collected:

Critical Findings:

## Direct Analysis of Tape-Lift Samples

Tape-lift samples were collected from selected surfaces exhibiting visible suspect microbial growth or areas of concern identified during the onsite assessment. A clear adhesive medium (Bio-Tape) was gently pressed onto the surface to capture spores, hyphae, and fungal structures, then submitted to an accredited microbiological laboratory for direct microscopic examination. This method is intended to confirm the presence of mold growth on the sampled surface, identify the predominant fungal types present, and estimate the relative level of surface contamination. Results are semi-quantitative and are interpreted in conjunction with visual observations, moisture measurements, and building history.

Laboratory Results and Interpretation

The laboratory reports spore loading using a standardized scale (Rare, Light, Moderate, Heavy, Very Heavy) and a mycelial estimate (None Detected, Trace, Few, Many) to help distinguish between simple spore deposition and active fungal colonization on the sampled surface. In this assessment, the following surfaces showed fungal growth consistent with colonization rather than normal background ecology:

Tape-Lift Sample Results (Hayes Microbial Report 26010876)

The combination of very heavy spore estimates and the presence of mycelial fragments demonstrates that these surfaces are supporting fungal growth, not merely accumulating settled spores from the air. The identified genera (Chaetomium, Stachybotrys, and Penicillium) are commonly associated with elevated moisture and water intrusion conditions in buildings and do not represent normal indoor fungal ecology when found at these levels on building materials.

Significance for Moisture and Remediation

These findings indicate an underlying moisture problem affecting the sampled materials and support the need for corrective drying and mold remediation in accordance with current industry standards (ANSI/IICRC S520-2024 and related guidelines). Remediation should focus on identifying and controlling moisture sources, removing or properly cleaning contaminated materials and components, and restoring affected assemblies and systems to eliminate fungal growth conditions.

The presence of Chaetomium and Stachybotrys on the drywall in the Employee Only Room with Black Board is particularly significant, as these genera are typical indicators of prolonged wet conditions and cellulosic material degradation. Both of these fungi are classified as water damage indicators and require immediate attention.

The significance of the sample in the Employee Only Room with the Green Wall – Drywall is that the drywall in this room did not have visible fungi. This indicates that all the drywall should have a flood cut, not just the areas with visible fungi.

## Analysis of Air Samples

Air samples are collected via a non-viable cassette spore trap. This type of spore trap collects and traps fungal spores and fragments. The samples are then sent to a laboratory and analyzed by a qualified professional. A Chain-of-Custody manifest accompanies the samples to ensure proper care and scientifically verifiable results. Results are provided in fungal units per cubic meter of air (spores/m³) for the spore traps. In cases where an air sample is taken inside a property, an outside or non-complaint area is sampled (Control Sample) as well. This control sample is used in determining whether there is a greater likelihood that the fungi detected in the indoor air samples originated from an indoor source.

Air Sample Results and Interpretation

Air Sample Results (Hayes Microbial Report 26010876)

Results for the air sample analysis indicate that fungal spores were present at elevated levels in the air sample taken in the Employee Only Room with Black Board (733 spores/m³ vs. 290 spores/m³ outdoor baseline). The elevated Cladosporium count (47.7% of total vs. 13.6% outdoors) represents a significant ratio abnormality. In my opinion, air sampling indicates abnormal fungal conditions in this area, and it is from an indoor source, not an outdoor source. The air sample levels indicate a degradation of the indoor air quality.

The visual conditions observed during the onsite assessment and the surface samples are evidence of the presence of active fungal growth on multiple surfaces. It is reasonable to conclude that fungal spores would have been dispersed and settled on horizontal surfaces in the facility. The Institute of Inspection, Cleaning and Restoration Certification classifies these as Condition 2 and Condition 3.

IICRC S520:2024 Definitions of Indoor Environmental Fungal Condition Levels

Condition 2: Secondary Contamination

An indoor environment (including surfaces and air) that is contaminated with residual biomass from a known Condition 3 source(s) in that same indoor environment. This includes spores and fragments, filaments, or extracellular material (ECM) from sporulation, sloughing, or production of other compounds (e.g., mycotoxins and mVOCs).

Condition 3: Actual Mold Growth

An indoor environment contaminated with the presence of mold growth that is active, dormant, dead, non-viable, visible, or hidden.

Recommendations

These levels and conditions indicate that a qualified professional needs to perform remediation in the facility. The mold remediation should be conducted in accordance with ANSI/IICRC S520-2024 Standard for Professional Mold Remediation and related industry guidelines.

## Analysis of dust for mycotoxins

Overview
Mycotoxins are secondary metabolites produced by certain molds under specific growth conditions. These microscopic compounds can attach to dust, spores, and building materials. Environmental mycotoxin testing goes beyond identifying mold spores; it measures whether specific chemical byproducts are detectable on indoor surfaces or in settled dust.​

The samples collected for this project were analyzed by liquid chromatography–tandem mass spectrometry (LC–MS/MS). This is a highly sensitive analytical method capable of detecting and quantifying trace levels of multiple mycotoxins at parts-per-billion (ppb) to parts-per-trillion (ppt) concentrations.​

Scope of analysis
The laboratory’s comprehensive mycotoxin panel screens for 40 different mycotoxins, including major toxin families such as aflatoxins, trichothecenes (including satratoxins and related Stachybotrys toxins), fumonisins, ochratoxin A, zearalenone, sterigmatocystin, citrinin, gliotoxin, and others. Results are reported in both absolute concentration (pg or ng per sample) and surface loading (pg/cm²) for the sampled area.​

The complete laboratory report and analytical methodology are included in the attachment section of this report.​

Understanding the results

Summary of mycotoxin findings

In this project, the laboratory detected measurable levels of the mycotoxins XXXXXXXXXX in settled dust from the sampled locations (see attached laboratory report for exact concentrations and units). No other mycotoxins in the 40‑toxin panel were reported above the laboratory’s limits of detection in the submitted samples.

Non-detect/low results

- “<LOD” (below the Limit of Detection) indicates that no mycotoxins were detected above the instrument’s sensitivity threshold.

- “<LOQ” (below the Limit of Quantification) means a trace signal was observed but not reliably quantifiable.​

- These results generally suggest that if mycotoxins are present, their concentrations are very low—below levels measurable by current laboratory methods.

- Low or non-detect results do not guarantee absolute absence, but they provide strong evidence that the tested surfaces are not showing elevated mycotoxin residues at the time of sampling.​

Elevated / detectable results

- Detectable concentrations show that one or more specific mycotoxins were present on the tested surface or in dust.

- These findings confirm chemical evidence of mycotoxin production by molds (past or present) in that location.

- The magnitude of the result can indicate the relative degree of contamination (for example, detectable pg/cm² levels compared with other rooms or reference areas).

- There are currently no established health or regulatory thresholds defining “safe” or “unsafe” environmental mycotoxin levels in residential or commercial buildings.

Important considerations

Interpretation context
Mycotoxin presence confirms that certain molds produced chemical byproducts but does not by itself prove current health risk or symptom causation. Environmental data should be interpreted along with visual inspection findings, moisture sources, occupant history, and, when appropriate, medical evaluation.

Sampling limitations
Results apply only to the sampled areas and dates; distribution can vary across rooms, levels, and materials. Environmental mycotoxin testing should be viewed as one component of a broader moisture, mold, and contamination assessment.

Recommended next steps

If results are non-detect or low
No further mycotoxin analysis is generally required. Continued control of moisture, humidity, and dust accumulation is recommended to prevent future mold and mycotoxin production. Follow the general remediation and prevention recommendations provided elsewhere in this report.

If results are elevated
Correlate affected areas with the mold and moisture findings in this report to determine whether remediation, cleaning, or additional targeted testing is warranted. The specific mycotoxins identified and their locations should inform the scope and approach of remediation work, including containment, removal, and cleaning of impacted materials. Post remediation verification may include follow-up mycotoxin sampling to confirm reduction or removal of contamination.

# Conclusion

A qualified licensed contractor should perform all repairs on the home. Any mold requiring professional remediation should be performed by a qualified licensed mold remediation contractor.

The property inspection revealed multiple areas of moisture intrusion and fungal growth, with the master bathroom shower representing the primary area of concern due to shower pan failure. The hall bathroom has secondary caulking and sealing issues that provide water infiltration pathways.

The most significant finding is the extensive fungal contamination throughout the crawl space, affecting approximately 100% of the inspected area. This indicates chronic moisture management issues at the foundation level that require professional remediation attention.

The HVAC system has been compromised by fungal growth in the air handler plenum, and negative pressure conditions during exhaust fan operation create the potential for moisture and air quality issues.

Immediate Action Required:

Secondary Priority:

The homeowner is strongly encouraged to address these items promptly to prevent further fungal colonization, protect the structural integrity of the home, and improve indoor air quality.

Fungal growth is present in the interior of the building's first story. According to IICRC S520, Condition 3 and Condition 2 exist in the building. Condition 3 refers to environments contaminated with actual mold growth, including spores associated with both visible and hidden, active, or dormant growth. Condition 2 describes environments primarily contaminated by settled spores that were dispersed from a Condition 3 area and may have traces of actual growth. The building needs to be further remediated. After remediation is completed, thorough cleaning of the building and HVAC system should be performed, focusing on dust removal and fungus removal.

The following standards and guidelines establish the minimum requirements for this project:

- ANSI/IICRC S520:2024 - Standard for Professional Mold Remediation (4th Edition)

- ANSI/IICRC S500:2021 - Standard for Professional Water Damage Restoration (5th Edition)

- ACR 2025 - The NADCA Standard for Assessment, Cleaning and Restoration of HVAC Systems

- EPA Guidelines - Mold Cleanup After Disasters and Indoor Environmental Guidelines

- OSHA Standards - Worker respiratory protection and occupant safety protocols (29 CFR 1910.134)

A reasonable course of action is to solicit bids for the repairs based on different scenarios and compare the cost-benefit of each type of repair. Until you confer with repair contractors, you will not have all the necessary information to make the decision. Furthermore, this advice would hold true for all the suggestions in the report.

The repairs should address the underlying cause(s) of the high moisture problems and not be a short-term solution. All repairs should be performed by a qualified licensed contractor.

Any items found by the repair contractor that are not cited in this report should be repaired as well.

For areas with a high moisture content, the area should be checked with a moisture meter periodically during drying.  The industry recommends that the moisture content of the wood products should be below 17% before rebuilding to prevent fungal growth.

## Health-sensitive occupancy notice

The property is occupied by individuals with documented health sensitivities to mold exposure, moisture-related contaminants, or chemical sensitivities. All repairs and remediation work must be executed in strict compliance with the most current industry standards and protocols applicable to health-sensitive environments.

Applicable Standards and Requirements:

The following standards and guidelines establish the minimum requirements for this project:

- ANSI/IICRC S520:2024 - Standard for Professional Mold Remediation (4th Edition)

- ANSI/IICRC S500:2021 - Standard for Professional Water Damage Restoration (5th Edition)

- ACR 2025 - The NADCA Standard for Assessment, Cleaning and Restoration of HVAC Systems

- EPA Guidelines - Mold Cleanup After Disasters and Indoor Environmental Guidelines

- OSHA Standards - Worker respiratory protection and occupant safety protocols (29 CFR 1910.134)

Enhanced Remediation Requirements:

Work performed under this specification must include:

- Containment Protocols - Complete isolation of work areas using plastic sheeting sealed with duct tape; HVAC systems must be shut down during active remediation to prevent cross-contamination of other areas.

- Air Quality Management - All work areas must be maintained under negative pressure using HEPA-filtered equipment. High-Efficiency Particulate Air (HEPA) filtration is required for dust and spore control.

- Worker Safety and Hygiene - All remediation personnel must be trained and certified in mold remediation (IICRC S520 certification minimum). Personnel must maintain protective protocols including appropriate respiratory protection, full-body coveralls, and equipment handling per OSHA standards.

- Moisture Management - All salvageable building materials must be dried to industry-acceptable moisture levels as specified in ANSI/IICRC S500. Moisture meters must be used to document drying progress and verify completion.

- Material Removal and Disposal - Per ANSI/IICRC S520:2024, source removal is the primary remediation method. Contaminated materials must be physically and completely removed, not merely disinfected or encapsulated. Chemical cleaners, antimicrobial agents, and biocides should only be applied per manufacturer specifications for EPA-registered products and only after physical source removal is complete. Gaseous, vapor-phase, or aerosolized treatments are prohibited due to occupant health concerns and lack of scientific validation per S520:2024 Section 2.

- Post-Remediation Verification - All remediation work must be verified and documented according to S520 standards before occupancy is permitted. Clearance testing or visual inspection protocols must be completed and provided to the building owner.

- HVAC System Restoration - HVAC systems serving affected areas must be restored per IICRC S520:2024 Section 13 using procedures outlined in ACR 2025 The NADCA Standard. All cleaning must include source removal as the primary remediation method, with verification by Surface Comparison Test or NADCA Vacuum Test. If airborne mold spores, mycotoxins, or extracellular matrix (ECM) contamination is confirmed or cannot be ruled out, comprehensive HVAC system restoration to specified cleanliness levels must be performed.

Contractor Notification and Compliance:

Therefore, this property requires work to be performed by contractors with demonstrated expertise in health-sensitive remediation environments. All work must be completed in compliance with these enhanced standards. Failure to meet these requirements may result in property reinfestation, extended remediation costs, and potential occupant health impacts.

All contractors working on this property should acknowledge receipt of this notice and agree to comply with the standards outlined above.

# Limitations

IIS endeavors to perform the required services for the client with the same degree of care and skill ordinarily exercised, under similar circumstances, by members of the profession currently practicing under similar conditions. The degree to which the building and components are assessed depends upon the type of services described in the scope of work and will be performed in a manner specified within the report.

Although reasonable care is exercised in performing these services, this report or investigation cannot be fully or technically exhaustive, nor does it imply that every component can be inspected or that every possible defect or damage can or will be discovered. Although a reasonable attempt has been made to locate suspect fungi (mold) in the areas identified, the inspection techniques used are inherently limited. Our survey was limited to readily accessible materials. With visual assessments, the client agrees to assume all the risk for all conditions that are concealed from view at the time of the assessment or exist in any area excluded from the Assessment by the terms of this agreement.

Please note that the moisture readings included in this report are the raw data recorded by the moisture meters. Moisture levels are affected by ambient weather conditions and other factors; this can result in variations between the readings taken on one day and the readings taken in the same area on another day. The readings provided in this report are accurate indicators of the presence of retained moisture in the materials in the area assessed at that given moment in time. These readings are not represented to be the absolute moisture content of the full thickness of the materials or framing wood.

This report only represents the condition of the structure at the specific locations indicated. Locations were determined by the inspector according to probable areas of possible moisture intrusion and fungal growth in accordance with accepted industry standards. No judgment is intended or given for any areas not found in this report. By conducting a survey and preparing a report, IIS is merely providing an opinion and does not warrant or guarantee the present or future condition of the subject property.

The opinions expressed throughout this report are to a reasonable degree of certainty and probability and are based upon my background, training, and experience in my field of expertise in microbial and indoor environmental inspection, as well as based upon the information set forth in this report and available for my review. This report is intended for the exclusive use of the Client and may not be relied upon by third parties without prior written consent. As a final note, if additional information is provided or work is necessary in this matter, I reserve the right to amend any conclusions and opinions expressed in the report.

This report was prepared on behalf of Investigative Inspection Services, Inc. I hereby certify that I performed the investigation and/or that these documents were prepared by me personally or under my supervision.

Respectfully submitted,

Stanley Yeskolski, President

# Attachments/appendices